**Statement of Need (SON)**

*All shelving with doors to lock with Kitlock 1200.*

*All horizontal rails on Spacesaver EZ rail brand name or equal*

*All Casework, Solid Surface tops with 4 “side splashes and 4” back splashes, sink to be included. Hamilton Sorter brand name or equal.*

*All accessories to be included such as bins, hooks, lips on shelving, locks, sinks and rail systems.*

***NOTE: FIELD DIMENSIONS REQUIRED***

***INSTALLATION TO BE AFTER REGULAR BUSINESS HOURS TO AVOID PATIENT CARE DISRRUPTION.***

**Room 1C124 Occupational Therapy**

Mfg.: Spacesaver by Patterson Pope brand name or equal

High Density system to be composed of the following: mechanical assist, subfloor, flooring –sheet vinyl, locking, high pressure laminate end panels, mobile on all rows (for access to electrical panel). Provide Spacesaver EZ rail where horizontal rails.

Compose of 2 shelves of bins and 2 drawers.

Dimension: 36” W x 15” D x 71”H,

Quantity (4)

Compose of 3 open adjustable shelves.

Dimension: 36” W x 24” D x 78”H,

Quantity (2)

Compose of 3 open adjustable shelves.

Dimension: 24” W x 24” D x 78 1/2” H (Shelves spacing 29 ¼”, 29 ¼”, 9 ¾”)

Quantity (2)

Compose of 3 open adjustable shelves,

Dimension: 12” W x 24” D x 77” H

(Shelves spacing 9 3/4”, 48 3/4”, 9 ¾”),

Quantity: (2)

Compose of open adjustable hanging hooks. Dimension: 36” W x 12” D x 78 1/2” H (Opening spacing 5 1/4”, 14 13/32”, 17 13/32”, 17 13/32”, 21 29/32”)

Quantity (4)

Mfg.: Spacesaver by Patterson Pope brand name or equal

Spacesaver shelving 4 posts with closed sided and center stops and closed base. Provide doors and accessories. All doors to receive kitlock 1200.

Screen – 3

Description: Room divider. Retractable mobile locking screen with images.

Mfg.: Kwick Screen by Patterson Pope brand name or equal

Printed image on both sides

Brakes on front wheels under handle.

Compose of 3 open shelves with dividers,

Dimension: 48” W x 24” D x 71 ¾” H, (Opening spacing 23 ¼”, 23 ¼”, 9 ¾”, 9 ¾”)

Quantity (2)

Compose of 3 open adjustable shelves with dividers.

Dimension: 36” W x 24” D x 71 ¾” H, (Opening 21 ¾”, 23 ¼”, 21 ¾”, 21 ¾”)

Quantity (1)

**Room 1C124A**

Mfg.: Spacesaver: Framewrx Easy Rail with bins.

A. Spacesaver EZ Rail:

1. Shall be a one-piece welded design manufactured from two formed parts a minimum of

16-gauge (1.5MM) cold rolled steel and mounting brackets made from a minimum of 14-

Gauge (1.9MM) steel and welded at the rear of the rail. The EZ Rail shall contain a top

Surface for engagement of industry standard hanging bins as well as a slot on the face for

the engagement of industry standard slat wall accessories and peg board hooks. Include

bins and pegs and shelves. Metal canopy tops: Shall be formed from minimum 18-gauge

(1.2MM) cold rolled steel with a triple 90-degree bend on front edges with a maximum

edge thickness of ¾” (19MM). Single face and double face units to be one-piece design.

Mfg.: Spacesaver by Patterson Pope Spacesaver brand name or equal

Shelving 4 post with closed sided and center stops and closed base. Provide doors and accessories. All doors to receive kitlock 1200.

Compose of 4 pegs units and 2 rows of bins

Dimension: 36” W x 13” D x 66” H (Opening spacing 6 13/32”, 8 13/32”, 8 13/32”, 8 13/32”, 8 13/32”),

Quantity (3)

Compose of 3 open shelves with dividers,

Dimension: 36” W x 24” D x 76 1/4” H, (Opening spacing 23 ¼”, 23 ¼”, 11 1/4”, 12 3/4”) Quantity (1)

**Room 1C126 Physical Therapy**

Mfg.: Hamilton Sorter by Patterson Pope brand name or equal

Casework with sink to be included, and provide locks.

Casework

Upper wall cabinets with two doors and one adjustable shelf.

Dimension: 42” W x 14” D x 24“H,

Quantity (1)

Upper wall cabinet with one adjustable shelf.

Dimension: 12” W x 14” D x 24”H,

Quantity (1)

Upper wall cabinet with one door and adjustable shelf.

Dimension: 17” W x 14” D x 24”H

Quantity: (1)

Base cabinets 25” D Solid surface worksurface with 4” H backsplash

Sink cabinet with two doors

Dimension: 42” W x 24” D x 34H

Quantity: (1)

Base cabinet with doors with one adjustable shelf

Dimension: 12” W x 24” D x 34”H

Quantity: (1)

Base Cabinet with four drawers

Dimension: 18” W x 24” D x 34”H

Quantity: (1)

Base cabinet with two doors with one adjustable shelf

Dimension: 36” W x 24” D x 34”H

Quantity: (1)

Base cabinet with two doors with one adjustable shelf

Dimension: 18” W x 24” D x 34”H

Quantity: (1)

**Room 1C126A OFFICE**

Mfg.: Hamilton Sorter by Patterson Pope brand name or equal

Casework with sink to be included, and provide locks.

Casework

Upper wall cabinets with two doors and one adjustable shelf.

Dimension: 24” W x 14” D x 30“H,

Quantity (3)

Upper wall cabinet with one adjustable shelf for microwave.

Dimension: 36” W x 14” D x 30”H,

Quantity (1)

Upper wall cabinet with one door and adjustable shelf.

Dimension: 17” W x 14” D x 30”H

Quantity: (1)

Base cabinets 25” D Solid surface worksurface with 4” H backsplash

ADA Sink cabinet with basin Dimension: 42” W x 25” D x 34H

Quantity: (1)

Base cabinet with one drawer and two doors with one adjustable shelf

Dimension: 18” W x 24” D x 34”H

Quantity: (1)

Base cabinet with one drawer and two doors with one adjustable shelf

Dimension: 18” W x 24” D x 34”H

Quantity: (2)

Base Cabinet with four drawers

Dimension: 17” W x 24” D x 34”H

Quantity: (1)

Mfg.: Spacesaver by Patterson Pope brand name or equal - Spacesaver shelving 4 posts with closed sided and center stops and closed base. Provide doors and accessories. All doors to have kitlock 1200.

Close cabinet compose of adjustable shelves with two doors

Dimension: 36” W x 68”H

Quantity: (1)

Open bookcases with adjustable shelves.

Dimension: 15” W x 72”H,

Quantity (1)

Open bookcases with adjustable shelves.

Dimension: 36” W x 72”H,

Quantity (3)

**Room 1C135**

Mfg.: Spacesaver by Patterson Pope brand name or equal Spacesaver shelving 4 posts with closed sided and center stops and closed base. Provide doors and

Include all accessories. All doors to have kitlock 1200.

Compose of 3 adjustable shelves.

Dimension: 36” W x 24” D x 71 ¾” H (opening 20 ¼”, 23 ¼”, 23 ¼”)

Quantity: (3)

Mfg.: Spacesaver by Patterson Pope Spacesaver shelving 4 posts with closed sided and center stops and closed base. Provide doors and accessories. All doors to receive kitlock1200.

Compose of 3 adjustable shelves with dividers.

Dimension: 36” W x 24” D x 71 ¾” H (opening 20 ¼”, 23 ¼”, 23 ¼”)

Quantity: (2)

**Room 1C137 Dining**

CW3 ‐ Elevation E: Mfg.: Spacesaver by Patterson Pope brand name or equal

Spacesaver shelving 4 posts with closed sided and center stops and closed base. Provide doors and accessories. All doors to have kitlock 1200.

Base cabinets 25” D Solid surface worksurface with 4” H backsplash

ADA Sink cabinet with basin

Dimension: 42” W x 25” D x 34H,

Quantity (1)

Base cabinet with two doors with one adjustable shelf

Dimension: 24” W x 24” D x 34”H,

Quantity (1)

Base Cabinet with four drawers

Dimension: 18” W x 24” D x 34”H,

Quantity (1)

Mfg.: Hamilton Sorter by Patterson Pope brand name or equal

Close cabinets with doors and adjustable height shelves.

Dimension: 48” W x 71 25/32” H

Quantity: (3)

**Room 1C138 Day Room**

CW4: Elevation S and J: Mfg.: Hamilton Sorter by Patterson Pope brand name or equal

Casework with solid surface 25” D worksurface with 4” H back splash.

Compose of base cabinet with (4) drawers.

Dimension: 42” W x 24” D x 42” H

Quantity: (2)

Base cabinet (2) doors with (1) adjustable shelf.

Dimension: 42” W x 24” D x 42” H

Quantity: (2)

Storage Bookcases with adjustable shelves (4)

Dimension: 36” W x 18” D x 72” H

Quantity: (2)

**Room 1B138A Equipment Storage**

Mfg.: Spacesaver by Patterson Pope brand name or equal.

High Density system, mechanical assist storage system, subfloor, flooring –sheet vinyl, locking, high pressure laminate end panels, mobile on all rows (for access to electrical panel), locking.

Compose of 5 peg holder cabinet,

Dimension 48” W x 12” D x 78 ½”.

Quantity: (1)

Compose of Open cabinet with (3) adjustable height shelves with dividers.

Dimension: 48” W x 30” D x 78 ½” H (with (9) spaces opening 18 3/4”, 23 ¼”, 26 ¼”), Quantity: (1)

Compose of Open cabinet with (3) adjustable height shelves with dividers.

Dimension: 48” W x 30” D x 78 ½” H (with (6) spaces opening 18 ¾”, 23 ¼”, 26 ¼”), Quantity: (2)

Compose of (3) adjustable shelves with bins and (2) drawers.

Dimension: 36” W x 15” D x 78 ½” H.

Quantity ()

Mfg.: Spacesaver by Patterson Pope Spacesaver shelving 4 posts with closed sided

And center stops and closed base. Provide doors and accessories. All doors to receive kitlock 1200. Provide Spacesaver EZ rail.

Compose of Open cabinet with (3) adjustable height shelves with dividers.

Dimension: 36” W x 30” D x 78 ½” H (with (6) spaces opening 20 ¼”, 23 ¼”, 23 ¼”)

Quantity: (1)

Compose of Open cabinet with (2) adjustable height shelves and (2) drawers 12”.

Dimension: 48” W x 30” D x 71 3/4” H (opening 23 ¼”, 23 ¼”, 12 3/4”)

Quantity: (2)

Modular Wall with door

Estimate dimension: 18’-0” W x 8’-0” D

**FIELD DIMENSION REQUIRED**

Supervisor’s Office

Office Furniture

Peninsula top surface with modesty panel

Dimension: 78” W x 30” D x 24”

Mobile pedestal

48” Upper Storage

Quantity (2)

48” Lower storage

Quantity (2)

Bookcase

Dimension: 30” W x 18” D x 65” H

Task Chair

Quantity

Guest Chair

Quantity: (1)

Wrap around workstation to accommodate (3) staff members.

Laminate Surfaces

Dimensions: 72” W x 24” D

Quantity: (1)

BBF 24” W Pedestal

Quantity: (6)

Laminate Surface

Dimension: 96” W x 24” D

Quantity: (1)

Enclosed Upper cabinet storage

Dimension: 42” W x 20” D

84” W x 24” Surface:

Quantity: (2)

Enclosed Upper cabinet storage

Dimension: 42” W x 16” D

Quantity: (1)

Open Upper cabinet storage

Dimension: 42” W x 16” D

Quantity: (1)

**Cubicles**

Laminate Surface

Dimension: 72” W x 24” D

Quantity: (3)

Laminate Surface

Dimension: 42” W x 24” D

Quantity: (2)

Laminate Surface

Dimension: 30” W x 24” D

Quantity: (1)

Enclosed Upper cabinet storage

Dimension: 42” W x 20” D

84” W x 24” Surface:

Quantity: (2)

Enclosed Upper cabinet storage

Dimension: 36” W x 20” D

Quantity: (1)

Open Upper cabinet storage

Dimension: 36” W x 20” D

Quantity: (1)

BBF 24” W Pedestal

Quantity: (6)

Task Chair

Quantity: (3)

Guest Chair

Quantity: (3)