**Attachment A**

**Main Chiller System Equipment**

**(2) Two Chillers**

**Tag Chiller 1**

One (1) York 750 Ton Water Cooled Centrifugal Chiller

Model# YTK9D7F2-CHW

Serial# GEHM047185

Compressor

Model # YTDTL-144

Serial # GAHC047185

 Speed Drive

Model # 790T B12F-46C

 Serial # 00848H1098

**Tag Chiller 2**

 One (1) York 750 Ton Water Cooled Centrifugal Chiller

 Model # YTK9D7F2-CHW

 Serial # GEHM047186

 Compressor

 Model # YTDTL-144

 Serial # GAHC047186

**Main Chiller System Equipment (continued)**

 Speed Drive

 Model # 790T B12F-46C

 Serial # 006588H1298

**Two (2) Cooling Towers**

 **Tag Tower 1**

 BAC 1000 Ton Cooling Tower

 Model # 3791A

 Serial # U066115301

 **Tag Tower 2**

 BAC 1000 Ton Cooling Tower

 Model # 3791

 Serial # U066115303

**Three (3) Primary Chilled Water Pump**

 **Tag Chilled Pump 1**

 Bell & Gossett/ Model # 185014/ 25 HP

 **Tag Chilled Pump 2**

 Bell & Gossett/ Model # 185014/ 25 HP

 **Tag Chilled Pump 3**

 Bell & Gossett/ Model # 185014/ 25 HP

 **Three (3) Secondary Chilled Water Pump**

**Tag Chilled Water Pump 4**

Bell & Gossett/ Model # VSCS-S 13.000 BFW LHR QF3449/100 HP

**Main Chiller System Equipment (continued)**

**Tag Chilled Water Pump 5**

 Bell & Gossett/ Model # VSCS-S 13.000 BFW LHR QF3449/100 HP

**Tag Chilled Water Pump 6**

Bell & Gossett/ Model # VSCS-S 13.000 BFW LHR QF3449/100 HP

**Two (2) Condenser Water Pumps**

**Tag Condenser Pump 1**

Bell & Gossett/ Model # VSCS-S 15.625 BF LHR QF3450/75 HP

**Tag Condenser Pump 2**

Bell & Gossett/ Model # VSCS-S 15.625 BF LHR QF3450/75 HP

**CLC Chiller System #1 Equipment**

**Tag Chiller 1**

One (1) York 90 Ton Water Cooled Screw type Chiller

Model # YCWS0100SC46YAADB

Serial # RBLM002563

 Compressor

 Model # DXS12LASC 46/50

 Serial # VBLX040364

 Compressor

 Model # DXS12LASC 46/50-R

 Serial # 1002735

**CLC Chiller System #1 Equipment (continued)**

**Tag Chiller 2**

One (1) York 90 Ton Water Cooled Screw type Chiller

Model # YCWS0100SC46YAADB

Serial # RBLM002562

Compressor

 Model # DXS12LASC 46/50

 Serial # VALX280294

 Compressor

 Model # YTDTL-144

 Serial # VALX290295

**Two (2) Cooling Towers**

**Tag CLC Tower 1**

Model # VTO-088-JM/X

Serial # U163175202-01-01

**Tag CLC Tower 1**

Model # VTO-088-JM/X

Serial # U163175203-01-01

**Two (2) Variable Frequency Drives**

**Tag CLC Drive 1**

Eaton Model # HMX01154NAM1

Serial # 12873354

**CLC Chiller System #1 Equipment (continued)**

**Tag CLC Drive 1**

Eaton Model # HMX01154NAM1

Serial # 12873356

**CLC Chiller System #2 Equipment**

**One (1) York Air Cooled Chiller VFD Screw Chiller**

Model # YCAV207SA46VAVCST

Serial # SMPM-016930

**Emergency Back-Up Chiller Systems**

**West Tower Back-Up**

**Tag Back-Up Chiller 1**

 One (1) York 150 Ton Air Cooled Reciprocating Chiller

Model # YCAJ150-46PA

Serial # SKGM-162120

**Main Kitchen Cooling Unit**

**Tag SAC 24**

One (1) York 100 Ton Reciprocating Condensing Unit

Model # YCU288OE3-17PC

Serial # SALM-640060