5. PROJECT NUMBER (if applicable)

CODE

7. ADMINISTERED BY

2. AMENDMENT/MODIFICATION NUMBER

CODE

6. ISSUED BY

8. NAME AND ADDRESS OF CONTRACTOR

4. REQUISITION/PURCHASE REQ. NUMBER

3. EFFECTIVE DATE

9A. AMENDMENT OF SOLICITATION NUMBER

9B. DATED

PAGE

OF PAGES

10A. MODIFICATION OF CONTRACT/ORDER NUMBER

10B. DATED

BPA NO.

1. CONTRACT ID CODE

FACILITY CODE

CODE

 Offers must acknowledge receipt of this amendment prior to the hour and date specified in the solicitation or as amended, by one of the following methods:

The above numbered solicitation is amended as set forth in Item 14. The hour and date specified for receipt of Offers

**E. IMPORTANT:**

is extended,

 (a) By completing Items 8 and 15, and returning \_\_\_\_\_\_\_\_\_\_ copies of the amendment; (b) By acknowledging receipt of this amendment on each copy of the

 offer submitted; or (c) By separate letter or electronic communication which includes a reference to the solicitation and amendment numbers. FAILURE OF YOUR

 ACKNOWLEDGMENT TO BE RECEIVED AT THE PLACE DESIGNATED FOR THE RECEIPT OF OFFERS PRIOR TO THE HOUR AND DATE SPECIFIED MAY

is not extended.

12. ACCOUNTING AND APPROPRIATION DATA

(REV. 11/2016)

is required to sign this document and return \_\_\_\_\_\_\_\_\_\_\_ copies to the issuing office.

is not,

A. THIS CHANGE ORDER IS ISSUED PURSUANT TO: (Specify authority) THE CHANGES SET FORTH IN ITEM 14 ARE MADE IN THE CONTRACT ORDER NO. IN ITEM 10A.

15C. DATE SIGNED

B. THE ABOVE NUMBERED CONTRACT/ORDER IS MODIFIED TO REFLECT THE ADMINISTRATIVE CHANGES

SET FORTH IN ITEM 14, PURSUANT TO THE AUTHORITY OF FAR 43.103(b).

 RESULT IN REJECTION OF YOUR OFFER. If by virtue of this amendment you desire to change an offer already submitted, such change may be made

 by letter or electronic communication, provided each letter or electronic communication makes reference to the solicitation and this amendment, and is received

 prior to the opening hour and date specified.

C. THIS SUPPLEMENTAL AGREEMENT IS ENTERED INTO PURSUANT TO AUTHORITY OF:

D. OTHER

BY

Contractor

16C. DATE SIGNED

14. DESCRIPTION OF AMENDMENT/MODIFICATION

16B. UNITED STATES OF AMERICA

Except as provided herein, all terms and conditions of the document referenced in Item 9A or 10A, as heretofore changed, remains unchanged and in full force and effect.

15A. NAME AND TITLE OF SIGNER

16A. NAME AND TITLE OF CONTRACTING OFFICER

15B. CONTRACTOR/OFFEROR

STANDARD FORM 30

PREVIOUS EDITION NOT USABLE

Prescribed by GSA - FAR (48 CFR) 53.243

(Type or print)

(Type or print)

(Organized by UCF section headings, including solicitation/contract subject matter where feasible.)

(Number, street, county, State and ZIP Code)

(If other than Item 6)

(Specify type of modification and authority)

(such as changes in paying office, appropriation date, etc.)

(If required)

(SEE ITEM 11)

(SEE ITEM 13)

(X)

CHECK

ONE

**13. THIS ITEM APPLIES ONLY TO MODIFICATIONS OF CONTRACTS/ORDERS,**

**IT MODIFIES THE CONTRACT/ORDER NO. AS DESCRIBED IN ITEM 14.**

**11. THIS ITEM ONLY APPLIES TO AMENDMENTS OF SOLICITATIONS**

**AMENDMENT OF SOLICITATION/MODIFICATION OF CONTRACT**

(Signature of person authorized to sign)

(Signature of Contracting Officer)

1

1

A00004

09-19-2017

542-10-104

00244

Department of Veterans Affairs

Network Contracting Office 4

VA Medical Center

1400 Blackhorse Hill Road

Coatesville, PA 19320

00244

Department of Veterans Affairs

Network Contracting Office 4

VA Medical Center

1400 Blackhorse Hill Road

Coatesville, PA 19320

To all Offerors/Bidders

VA244-17-B-1493

08-22-2017

X

X

1

X

1

Renovate Building 14 Boiler Plant, Project No. 542-10-104

Solicitation No. VA244-17-B-1493 is hereby amended:

Contractor sign-in sheet attached from site visit conducted on 08/31/2017.

VA response to additional contractor questions.

Elizabeth Morin

Contracting Officer

**RENOVATE BUILDING 14 BOILER PLANT**

**PROJECT 542-10-104, SOLICITATION VA244-17-B-1493**

**AMENDMENT NO. A00004**

1. Could you please clarify if we are to include any fire alarm devices or wiring, sheet note 4 on drawing E-101 states to provide new devices for the fire alarm system which is under a separate contract.  If we are to provide devices we would need to know the manufacturer.  Also, Spec Section 28 31 00 – Fire Detection and Alarm, is listed in the table of contents but is not in the body of the specifications.

VA Response: Provide fire alarm system in lieu of what is stated on the drawing sheet E-101 Manufacturer shall be:

* + EST. UTC (United technologies Co.)
	+ Siemens Pyrotronics
	+ Simplex\Grinnell
	+ NOTIFIER

Above manufacturer has been approved as an extension of the existing facility system in order to maintain continuity of operation.

Specification section 283100 is added to the projects for additional clarification.

1. Please provide a detail of the Precast concrete monitors and skylights., Drawing # A-200 refers to detail 4-A301. This detail does not address the precast concrete monitor.

VA Response: Precast concrete monitor and skylight detail is on drawing sheet A301/2 as well as sheet S301/2 for clarification.

See attached document: Sign In Sheet 08312017.

See attached document: light well detail.

See attached document: Fire Alarm and Signaling System 28 31 00 -09192017.