## by Site
Item | Part | Nikon Part Number | Description / Salient Characteristics | Equal Part Number | Equal Description / Salient Characteristics | Additional Notes as Needed | Unit Cost | Item Total | Item Count | Loma Linda | Sub | San Diego Pathology | Sub | San Diego Heme/ Micro | Sub | Tucson | Sub | GLA | Sub | Phoenix | Sub | Long Beach Path | Sub | LB Frzn | Sub | LB Cytology | Sub | LB Cart Cytology | Sub | LB Heme | Sub
Stands | Manual | MBA95000 | LED, Low Profile - manual Stage height Less than 180mm |  |  |  |  | 0 | 26 | 5 | 0 | 1 | 0 | 4 | 0 | 5 | 0 | 2 | 0 | 1 | 0 | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 2 | 0
| Motorized | MBA93000 | LED, Low Profile - Stage height Less than 180mm includes Motorized Nosepiece, on-stand Up/Down Objective Control and Keypad controller |  |  |  |  | 0 | 9 |  | 0 | 4 | 0 |  | 0 |  | 0 | 5 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Power Cord | 79035 | [5 empty] | 0 | 35 | 5 | 0 | 5 | 0 | 4 | 0 | 5 | 0 | 7 | 0 | 1 | 0 | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 2 | 0
Viewing body | Fixed Binocular Head | MBB92106 | [5 empty] | 0 | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 7 | 0 | 1 | 0 | 1 | 0 |  | 0 |  | 0 | 1 | 0 |  | 0
| Ergonomic Binocular Head | MBB93800 | Tilt, Telescope, Riser/Height Adjustable |  |  |  |  | 0 | 49 | 10 | 0 | 10 | 0 | 4 | 0 | 9 | 0 | 7 | 0 | 1 | 0 | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 2 | 0
Eyepieces | 10X | MAK10110 | FN 22 |  |  |  |  | 0 | 131 | 25 | 0 | 22 | 0 | 8 | 0 | 18 | 0 | 28 | 0 | 4 | 0 | 11 | 0 | 5 | 0 | 2 | 0 | 4 | 0 | 4 | 0
| Eyecup | MAK99000 | [5 empty] | 0 | 122 | 20 | 0 | 20 | 0 | 8 | 0 | 18 | 0 | 28 | 0 | 4 | 0 | 10 | 0 | 4 | 0 | 2 | 0 | 4 | 0 | 4 | 0
| Reticle | 175961 | 10 mm scale (extra eyepiece for each one) |  |  |  |  | 0 | 11 | 5 | 0 |  | 0 | 2 | 0 |  | 0 |  | 0 |  | 0 | 3 | 0 | 1 | 0 |  | 0 |  | 0 |  | 0
Nosepiece | 6 position Nosepeice | MBP71316 | [5 empty] | 0 | 4 |  | 0 |  | 0 | 2 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 0 | 1 | 0 |  | 0
| 6 position w/ Analyzer Slot | MBP71325 | 6 place nosepiece with analyzer slot |  |  |  |  | 0 | 21 | 5 | 0 | 1 | 0 | 2 | 0 | 5 | 0 | 2 | 0 | 1 | 0 | 2 | 0 | 1 | 0 |  | 0 |  | 0 | 2 | 0
| 7 position | MBP99405 | Motorized nosepiece with Analyzer Slot |  |  |  |  | 0 | 10 |  | 0 | 4 | 0 |  | 0 |  | 0 | 5 | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0
Stage (with height adjustable stage handle) | Mechanical, Right | MBC91115 | Control Wand on Right. Includes Slide Holder |  |  |  |  | 0 | 31 | 5 | 0 | 2 | 0 | 4 | 0 | 5 | 0 | 6 | 0 | 1 | 0 | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 2 | 0
| Mechanical Left - | MBC91126 | Control Wand on Left. Includes Slide Holder |  |  |  |  | 0 | 3 |  | 0 | 2 | 0 |  | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Plain | 92620 | [5 empty] | 0 | 1 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Condenser | Abbe (4-100x) | MBL71105 | [5 empty] | 0 | 8 |  | 0 |  | 0 | 2 | 0 | 2 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 0 | 1 | 0 | 2 | 0
| Achromat/Aplanat Oil | MBL71405 | [5 empty] | 0 | 2 |  | 0 |  | 0 | 2 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Swing-out (1-100x) | MBL71305 | Flip out at 1x and 2x |  |  |  |  | 0 | 12 | 5 | 0 |  | 0 |  | 0 |  | 0 | 2 | 0 | 1 | 0 | 3 | 0 | 1 | 0 |  | 0 |  | 0 |  | 0
| Flip-out (2-100x) | MBL11300 | [5 empty] | 0 | 3 |  | 0 | 1 | 0 |  | 0 | 2 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Motorized | MBL99300 | Automatic Flip-in/out with light intensity memory Top Lens - for use w/ motorized stand (above) |  |  |  |  | 0 | 9 |  | 0 | 4 | 0 |  | 0 |  | 0 | 5 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Phase Turret | MBL73105 | [5 empty] | 0 | 1 |  | 0 |  | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Centering Telescope | MAK85005 | [5 empty] | 0 | 1 |  | 0 |  | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Objectives (Mag) | Plan Achro 1X | MRL00012 | [5 empty] | 0 | 2 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Plan Achro 2X | MRL00022 | [5 empty] | 0 | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Plan Achro 4X | MRL00042 | [5 empty] | 0 | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 0 | 1 | 0 |  | 0
| Plan Achro 10X | MRL00102 | [5 empty] | 0 | 9 |  | 0 |  | 0 | 4 | 0 |  | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 | 1 | 0 | 1 | 0 | 2 | 0
| Plan Achro 20X | MRL00202 | [5 empty] | 0 | 3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 | 1 | 0 | 1 | 0 |  | 0
| Plan Achro 40X | MRL00402 | [5 empty] | 0 | 9 |  | 0 |  | 0 | 4 | 0 |  | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 | 1 | 0 | 1 | 0 | 2 | 0
| Plan Achro 50X oil | MRL01502 | [5 empty] | 0 | 7 |  | 0 |  | 0 | 2 | 0 | 3 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 0
| FF Achro Achro 60X | MRP00602 | [5 empty] | 0 | 5 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 0 | 3 | 0 | 1 | 0 |  | 0 |  | 0 |  | 0
| Plan Achro 100X oil | MRL01903 | [5 empty] | 0 | 4 |  | 0 |  | 0 | 2 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 0
| Plan Fluor 4X | MRH00041 | [5 empty] | 0 | 17 | 5 | 0 | 5 | 0 |  | 0 |  | 0 | 7 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Plan Fluor 10X | MRH00101 | [5 empty] | 0 | 17 | 5 | 0 | 5 | 0 |  | 0 |  | 0 | 7 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Plan Fluor 20X | MRH00201 | [5 empty] | 0 | 17 | 5 | 0 | 5 | 0 |  | 0 |  | 0 | 7 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Plan Fluor 40X | MRH00401 | [5 empty] | 0 | 21 | 5 | 0 | 5 | 0 |  | 0 |  | 0 | 7 | 0 |  | 0 | 3 | 0 | 1 | 0 |  | 0 |  | 0 |  | 0
| Plan Fluor 60X | MRH00602 | [5 empty] | 0 | 15 | 5 | 0 | 5 | 0 |  | 0 |  | 0 | 5 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Plan Fluor 100X | MRH01902 | [5 empty] | 0 | 9 | 5 | 0 | 1 | 0 | 2 | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Plan Apo 2X | MRD00025 | [5 empty] | 0 | 21 | 5 | 0 | 5 | 0 |  | 0 | 2 | 0 | 5 | 0 |  | 0 | 3 | 0 | 1 | 0 |  | 0 |  | 0 |  | 0
| Plan Apo 4X | MRD00045 | [5 empty] | 0 | 7 |  | 0 |  | 0 |  | 0 | 3 | 0 |  | 0 |  | 0 | 3 | 0 | 1 | 0 |  | 0 |  | 0 |  | 0
| Plan Apo 10X | MRD00105 | [5 empty] | 0 | 9 |  | 0 |  | 0 |  | 0 | 5 | 0 |  | 0 |  | 0 | 3 | 0 | 1 | 0 |  | 0 |  | 0 |  | 0
| Plan Apo 20X | MRD00205 | [5 empty] | 0 | 6 |  | 0 |  | 0 |  | 0 | 2 | 0 |  | 0 |  | 0 | 3 | 0 | 1 | 0 |  | 0 |  | 0 |  | 0
| Plan Apo 40X | MRD00405 | [5 empty] | 0 | 5 |  | 0 |  | 0 |  | 0 | 5 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Plan Apo 60X | MRD00605 | [5 empty] | 0 | 1 |  | 0 |  | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Plan Apo 100X oil | MRD01905 | [5 empty] | 0 | 5 |  | 0 |  | 0 |  | 0 | 4 | 0 |  | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Phase contrast Plan Achro 20X | MRL20202 | [5 empty] | 0 | 1 |  | 0 |  | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Phase contrast Plan Achro 40X | MRL20402 | [5 empty] | 0 | 1 |  | 0 |  | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Dual View | Face-to-Face | MBB75100 | [5 empty] | 0 | 23 | 5 | 0 | 5 | 0 |  | 0 | 2 | 0 | 7 | 0 | 1 | 0 | 1 | 0 | 1 | 0 |  | 0 | 1 | 0 |  | 0
| Side-by-Side | MBB75110 | [5 empty] | 0 | 2 |  | 0 |  | 0 |  | 0 | 2 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Support Pillar | MBB75150 | [5 empty] | 0 | 4 |  | 0 |  | 0 |  | 0 | 2 | 0 |  | 0 | 1 | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0
| LED pointer | MBB75141 | Red/Green |  |  |  |  | 0 | 25 | 5 | 0 | 5 | 0 |  | 0 | 4 | 0 | 7 | 0 | 1 | 0 | 1 | 0 | 1 | 0 |  | 0 | 1 | 0 |  | 0
| AC adapter | MBF81001 | [5 empty] | 0 | 25 | 5 | 0 | 5 | 0 |  | 0 | 4 | 0 | 7 | 0 | 1 | 0 | 1 | 0 | 1 | 0 |  | 0 | 1 | 0 |  | 0
| Power Cord | 79035 | [5 empty] | 0 | 24 | 5 | 0 | 5 | 0 |  | 0 | 4 | 0 | 7 | 0 | 1 | 0 | 1 | 0 |  | 0 |  | 0 | 1 | 0 |  | 0
Camera (Driver is digitally signed and is compatible with Windows 10) | Camera, | MQA18000 | USB (no PCIMA), 5+ Mp |  |  |  |  | 0 | 33 | 5 | 0 | 5 | 0 |  | 0 | 12 | 0 | 7 | 0 | 1 | 0 | 3 | 0 |  | 0 |  | 0 |  | 0 |  | 0
| USB and Trigger Cables | 77013245 | [5 empty] | 0 | 33 | 5 | 0 | 5 | 0 |  | 0 | 12 | 0 | 7 | 0 | 1 | 0 | 3 | 0 |  | 0 |  | 0 |  | 0 |  | 0
| AC Adapter, Power Cord | MQF52056 | [5 empty] | 0 | 33 | 5 | 0 | 5 | 0 |  | 0 | 12 | 0 | 7 | 0 | 1 | 0 | 3 | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Software | MQS33000 | Measurement, Annotation |  |  |  |  | 0 | 5 | 1 | 0 | 1 | 0 |  | 0 | 1 | 0 | 1 | 0 |  | 0 | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Software | MQS33100 | Multi-License |  |  |  |  | 0 | 28 | 4 | 0 | 4 | 0 |  | 0 | 11 | 0 | 6 | 0 | 1 | 0 | 2 | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Camera mount | MBB96855 | Includes Parfocality Adjustment and Centering |  |  |  |  | 0 | 26 | 5 | 0 | 5 | 0 |  | 0 | 5 | 0 | 7 | 0 | 1 | 0 | 3 | 0 |  | 0 |  | 0 |  | 0 |  | 0
Ergonomic Accessories | Nosepiece Spacer | MBP91705 | [5 empty] | 0 | 24 | 5 | 0 | 1 | 0 | 2 | 0 | 5 | 0 | 2 | 0 | 1 | 0 | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 2 | 0
| Nosepiece Spacer - Motorized | CI-NS SPACER FOR NOSEPIECE-NC with Service Fee | [5 empty] | 0 | 9 |  | 0 | 4 | 0 |  | 0 |  | 0 | 5 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Risers | MBB75710 | [5 empty] | 0 | 56 | 10 | 0 | 10 | 0 |  | 0 | 10 | 0 | 14 | 0 | 1 | 0 | 6 | 0 | 1 | 0 | 2 | 0 | 2 | 0 |  | 0
| Knob Extender | MXA22129 | [5 empty] | 0 | 31 | 5 | 0 | 5 | 0 | 2 | 0 | 5 | 0 | 7 | 0 | 1 | 0 | 3 | 0 |  | 0 | 1 | 0 |  | 0 | 2 | 0
Accessories | Gout Polarizer | MBB75380 | [5 empty] | 0 | 21 | 5 | 0 |  | 0 | 2 | 0 | 5 | 0 | 7 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 0
| Gout Analyzer, Slider | MBN91921 | [5 empty] | 0 | 21 | 5 | 0 |  | 0 | 2 | 0 | 5 | 0 | 7 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 0
| Simple Polarizer | MBB75370 | [5 empty] | 0 | 10 |  | 0 | 5 | 0 |  | 0 |  | 0 |  | 0 | 1 | 0 | 3 | 0 | 1 | 0 |  | 0 |  | 0 |  | 0
| Simple Analyzer, Slider | MBN74925 | [5 empty] | 0 | 10 |  | 0 | 5 | 0 |  | 0 |  | 0 |  | 0 | 1 | 0 | 3 | 0 | 1 | 0 |  | 0 |  | 0 |  | 0
| Dust Cover | MXA22049 | [5 empty] | 0 | 35 | 5 | 0 | 5 | 0 | 4 | 0 | 5 | 0 | 7 | 0 | 1 | 0 | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 2 | 0
[8 empty] | 0 | 1171 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Note on E1: For Brand Name Offers enter N/A
Note on F1: For Brand Name Offers enter N/A
Note on H1: Enter value without using $ symbol. (Example: 23.10)

## Instructions for Columns E-H
Equal Part Number | Equal Description / Salient Characteristics | Additional Notes as Needed | Unit Cost
Cells E2 to E67, enter the part number for the equivalent brand item. For Brand Name offers enter "N/A". | Cells F2 to F67, enter the description of the equivalent item to meet the salient physical, functional, or performance characteristic specified in this solicitation. For Brand Name offers enter "N/A". | Cells G2 to G67, enter any additional notes relevant to the referenced item. For Brand Name offers enter "N/A". | Cells H2 to H67, enter the single unit cost without using the dollar symbol $. (Examples: 23.55 or 23.00)
Note on A1: For Brand Name Offers enter N/A
Note on B1: For Brand Name Offers enter N/A
Note on C1: For Brand Name offers enter N/A
Note on D1: Enter value without using $ symbol. (Example: 23.10)