## Slide 1: Department of Veterans Affairs Network Contracting Office (NCO) 21
Multiple Award Task Order Contract (MATOC)
Pre-Proposal Conference and Project Site Walk
May 6, 2013
San Francisco VA Medical Center
Auditorium Bldg 7., Room 112

## Slide 2: INTRODUCTIONS
VA REPRESENTATIVES:
Contract Specialist: Javier E. Castro
Engineering: Travis Dilts, SF VAMC,
Your point of contact for all correspondence: javier.castro@va.gov

## Slide 3: Agenda
Welcome
Housekeeping
Disclosure
MATOC Ordering Guide Overview
SF Project Site Walk
Q & A - Open Discussion

## Slide 4: Disclosure
This is an open forum to provide industry with a brief overview of the MATOC solicitation and “Seed Project” site specifics.
Information exchanged during this event may be publicized on FedBizOpps.gov or another form of record for this event.
This event is not appropriate for proprietary disclosures.
No agreements, promises or other commitments are made or implied by the government or contractors participating in this event.
The government will attempt to provide equal opportunity to all attendees to ask questions. Please allow others to express themselves without interruptions.
One-on-One sessions with interested vendors will not be conducted.
Questions will be answered to the best of the panel’s knowledge of plans, desires, and general situation as it exists at this time.
Contractor recommendations may or may not be incorporated into government documents.
Discussions will not venture into pricing, or source selection sensitive information.
Note: To ensure all parties have access to the same information, non-proprietary questions and answers will be recorded and placed on FedBizOpps.gov.

## Slide 5: Welcome
Task Order Proposal Request Notification
  Thank you for your interest
  Documents/Briefing Slides will be posted to FBO
  Contractor Capability Briefs
    Not required
Emergency Exits
Restrooms
Project Site Walk

## Slide 6: PURPOSE
PURPOSE:
Provide additional information about the TOPR and project site
AGENDA:
Review portions of the requirements
Solicitation and all amendments will be posted to the www.fbo.gov website.
Review of project scopes – VA Engineering and AE firm
Job Site Walk through- Pictures Authorized

## Slide 7: SOLICITATION OVERVIEW – 1442
Set Aside for MATOC contractors only.
All offerors shall be registered in both CCR www.ccr.gov & VetBiz http://vip.vetbiz.gov
Offeror will be verified that it is an SDVOSB Concern listed as verified in the VetBiz Database at time of submission of offer and time of Award

## Slide 8: MULTIPLE-AWARD TASK ORDER CONTRACT (MATOC)
Competitive
Firm Fixed-Price (FFP) Contract
Multiple Award
Task Order - Driven
Indefinite Delivery/Indefinite Quantity (IDIQ)
Service-Disabled Veteran Owned Small Business (SDVOSB) Set-Aside

## Slide 9: AWARD
Basis for award shall be specified in the individual TOPR.
Result in Firm-Fixed Price (FFP) Task Order

## Slide 10: CONTRACT VALUES $$$
$400 Million – Not to exceed (NTE)
$50 Million – Each award (NTE)
8 Minimum Contract Awards
$5,000 Minimum guarantee
$10M Task Order Threshold Limit
SEED Project – Priced Individually
No contract bundling

## Slide 11: PERIOD OF PERFORMANCE (POP)
Total Estimated - 5 YEAR
Base Period – Date of award to Sep 30, 2013
Four (4) Option Periods to extend One (1) Year

## Slide 12: PLACE OF PERFORMANCE
Multiple service-area locations
Continental U.S. (CONUS)
California
Fresno McClellan
Palo Alto Mather
Martinez *Outpatient Clinics (OPC’s)
San Francisco
Mare Island
Nevada
Reno
Outside (OCONUS)
Hawaii
Honolulu (Oahu)

## Slide 13: DRAWINGS/SPECS
Drawings and Specifications will be included as attachments to solicitation: www.fbo.gov
Drawings and specifications also available via FTP.
Specifications and Drawing updates will be done via amendment and uploaded to both FBO and FTP Site.

## Slide 14: Scope of Work
Contractor shall provide all disposal, equipment, labor, materials, tools, supervision, transportation, safe measures, necessary to construct a retaining wall, stone walls, a monument wall with signage, concrete monument stairs and new landscaping including the necessary removal of existing structures, site improvements, and landscaping for:
Parking Lot 100W(West) and Loop Road

## Slide 15: Deducts
Deduct Alternative 1:
Delete the stone wall within Deduct Alternative 1 limits as shown on C3.2
Delete the irrigation system within the Deduct Alternative 1 limits as shown on L3.2 and provide a stub out in the irrigation valve box for future irrigation
Delete the trees and shrubs within the Deduct Alternative 1 limits as shown on L4.2
Delete all associated work within the limits of Deductive Alternative 1 as shown on drawings C2.2, C3.2, C4.2, C6.2, L1.2, L3.2, L4.2

## Slide 16: Deducts
Deduct Alternative 2:
Delete the stone wall within Deduct Alternative 2 limits as shown on C3.1
Delete the Monument Wall, the wall’s signage and it’s concrete pad.
Delete the light fixtures within Deduct Alternative 2 limits and their conduit run as shown on E1.1 and their concrete pad as shown on C4.1
Delete the trees and shrubs within the Deduct Alternative 2 limits as shown on L4.1
Delete the irrigation system within the Deduct Alternative 2 limits as shown on L3.1 and provide a stub out in the irrigation valve box for future irrigation.
Delete grading and all associated work within the limits of Deductive Alternative 2 as shown on drawings C2.1, C3.1, C4.1, C6.1, L1.1, L3.1, L4.1

## Slide 17: Deducts
Deduct Alternative:
Replace the stainless steel with galvanized steel for both the pipe and the steel bar support at the top of the retaining wall as shown on L2.1

## Slide 18: Period of Performance and Magnitude
COMPLETION TIME: 270 Calendar days from date of notice to proceed.
$1 Million to $2 Million

## Slide 19: Small Business Information
Primary NAICS Code - 236220 - Commercial and Institutional Building Construction
Small Business Size Standard – $33.5 Million
NAICS code and corresponding size standard assigned to each procurement
  Services: Annual gross receipts (3 years)
  Supplies: Number of employees (12 months)
Size standard establishes size of the business

## Slide 20: Small Business Information, Cont’d
“A business entity, including all its affiliates, that is independently owned and operated, not dominant in the field of operation in which it is bidding on government contracts and qualified under the criteria and size standards identified in 13 CFR part 121.”

## Slide 21: BONDS
  Solicitation requires Bid Guarantee, and both Payment and Performance Bonds
  Bond forms can be found at www.gsa.gov

## Slide 22: Task Order Award & Fair Opportunity
Every Contractor who is awarded a MATOC contract will be given a FAIR OPPORTUNITY to compete for the award of Task or Projects unless an exemption applies
Notes: 22

## Slide 23: Fair Opportunity Exemptions
Urgent or emergency requirements
Services are unique or highly specialized interest of economy and efficiency
Satisfy the minimum guarantee
NOTE: THIS IS NOT A REQUIREMENTS CONTRACT
Notes: 23
These are the Exceptions to fair opportunity to compete found in FAR Part 16.505 and detailed in Section 00800 SC4 Ordering in the solicitation (FAR LANGUAGE FOLLOWS-GIVE ENTIRE EXCEPTION WHEN STATING)
(i) The agency need for the supplies or services is so urgent that providing a fair opportunity would result in unacceptable delays;
(ii) Only one awardees is capable of providing the supplies or services required at the level of quality required because the supplies or services ordered are unique or highly specialized;
(iii) The order must be issued on a sole-source basis in the interest of economy and efficiency as a logical follow-on to an order already issued under the contract, provided that all awardees were given a fair opportunity to be considered for the original order; or
(iv) It is necessary to place an order to satisfy a minimum guarantee

## Slide 24: Other Times You May Not Be Given An Opportunity To Compete
KO May limit competition or exclude a contractor for the following reasons:
  Failure to prosecute the work diligently on a current Task Order Award
  Order outside your areas of consideration (ie: CONUS vs OCONUS Offerors)
Notes: 24
Pursuant to FAR 16.505(b)(ii) the Contracting Officer will exercise broad discretion in determining if a contractor is eligible for the award of a project. To determine eligibility the Contracting Officer will consider the areas of consideration applicable to each individual MATOC award. The Contracting Officer may consider such factors that the Contracting Officer, in the exercise of sound business judgment, believes are relevant to the placement of orders. To satisfy the contracting agency’s Small Business Administration contracting goals/targets, the Contracting Officer may consider such factors as achievement of Section 8(a) and HUB Zone goals/targets, and the emerging small business (ESB) reserve amount, currently $25,000. Projects with an estimated values equal to, or less than the ESB reserve amount will be offered only to ESB contractors UNDER $25,00 IS SET-ASIDE FOR EMERGING SMALL BUSINESS IAW COMPETIVENESS DEMONSTRATION PROGRAM
Additional factors on prior Task Orders under the MATOC contract, such as past performance, quality, timeliness, special expertise or other factors the Contracting Officer determines are relevant to award of a particular Task Order may be considered. Timely performance by a TOC contractor is very important. Failure to prosecute the work diligently, on a currently awarded task order, will be cause for the Contracting Officer not to include the contractor in the competitive fair-opportunity pool for future task orders. When the contractor’s delinquency has been cured, they will be considered for competition in future task orders.

## Slide 25: INDUSTRY STANDARDS
  Facility Design Standards
  Medical Facility Architectural Compatibility Standards
  National Electric & National Electric Safety Codes (ANSI C2)
  National Fire Protection Assoc (NFPA 101) Safety Code
  International Building, Mechanical, and Plumbing Codes
  Uniform Federal Accessibility Standard (UFAS)
  Americans with Disabilities Act Accessibility Guidelines (ADAAG)
  Uniform Facilities Criteria (UFC) and ASHRAE
  10 CFR Part 433, 434 - Energy Code for New Federal Commercial & Multi-Family High Rise Residential Buildings
  10 CFR Part 436 Subpart A - Methodology and Procedures for Life Cycle Cost Analysis
  ETL 008-13 Sustainable Building

## Slide 26: Master Specification
The Master specifications, also referred to as the default specifications
  Establishes an industrial and/or commercial standards for maintenance and repair of Government Facilities
  If SOW does not address a specification for an element of work, the master/default specification applies
Notes: 26
Master specifications start at section 01001 of the solicitation and at Attachment 1

## Slide 27: Contractor’s Location
Normal response time is two (2) days for site visit and three (3) days to thirty (30) for proposal depending on complexity
Contractors must be able to respond within 120 Minutes in the event of an emergency to view a site and possibly give a price.
Notes: 27

## Slide 28: Insurance Requirements
MATOC contractors are required to have insurance while under contract - not just when the task order is issued.
You will have access to base for contract related events
Must be in place if responding to emergencies

## Slide 29: Davis Bacon Wages & Bonds
Most current Davis Bacon Wage rates will apply to each MATOC Request for Proposal
  Link to Web site will be provided- Note the most current wage determination at time of award of Task Order applies to the Task Order
Performance and Payment bonds are established by each Task Order
  PAYMENT BOND - T.O.>$30K
  PERFORMANCE BOND - T.O.>$150K
Notes: 29

## Slide 30: Task Order Award Execution Procedures
KO establishes site visit & notifies MATOC Contractors by email or FBO
  Provides MATOC Project synopsis, offering letter and when available SOW/Plans/Wage Rates etc.(RFQ/RFP) (Note in some instances drawings/specs may be provided at the site visit)
  COR/Engineer conducts site visit with MATOC Contractors
  KO validates proposal due date with Contractors
Notes: 30
This process of how you will receive Task Order notices.
KO or CO means Contracting Officer
Usually Offering letter is emailed with Synopsis or SOW- Plans (Drawings are usually distributed at Site visit, unless electronic

## Slide 31: Task Order Award Execution Procedures
Contractor submits price proposal by, email, or fax as applicable
KO and Engineering/COR conducts price/tech evaluation
Award is made upon receipt of funds
KO emails award notice to awardees
Notifies all others of award only
Debrief not required
Notes: 31
All questions routed to KO not engineers.
You will only know who was awarded and the amount.

## Slide 32: Plans and Specifications
Normal method of distribution will be via email, web posting (FBO) or VA SFTP Site
It is the MATOC contractors responsibility to notify their subcontractors and provide them copies.
Electronic versions when available will be on the Web
Notes: 32
Make sure we have a valid email address that is regularly checked.

## Slide 33: QUESTIONS
Proposal questions – Will address basic questions regarding the solicitation requirements, not technical questions regarding drawings/specifications
Words of Caution- Base your offers on the solicitation and amendments to the solicitation as issued. Nothing said at this conference can be interpreted as an amendment to this solicitation unless issued as a formal amendment

## Slide 34: TECHNICAL QUESTIONS
Submit all solicitation questions in writing – Send questions related to the solicitation documents to my email address javier.castro@va.gov via an RFI. Submit in a Word Document or in the body of email
Responses will be obtained and issued by amendment
Cutoff date for questions shall be May 17, 2013, 2PM Local Time- no further questions will be accepted unless noted in an amendment.
Attempts will be made to respond to questions after the cutoff date, but due to time constraints, responses may not be provided